## Slide 1
MPSC Technical Conference June 8, 2017

## Slide 2
  PNW Region needs capacity
  Coal plant closures
  Addition of renewables
NWE has a very large and ongoing need for capacity
  Need for flexible capacity to integrate renewables
Region and NWE peak loads hour overlap
NWE can’t continue to “lean” on the region
2015 Plan identifies gas-fired generation
NWE using RFP to define resources
Overview
Notes: Since the WECC was significantly long generation, the Regional Reserve Requirement was not enforced at a company level.
With the retirements, regional companies will be closer to the Reserve Requirement and those that are short will be required to fulfill their obligation.
Penalties will be instituted as the need arises.

## Slide 3
NERC R- Reference Reserve Margin Requirement:
  12/2016 NWPP-US = 16.16%
Resource Adequacy Advisory Committee (RAAC)
  2015 Plan - region short in 2021
  2017 report – region is still short in 2021
PNUCC Annual forecast continues to affirm our concern about winter capacity
  2017 Northwest Regional Forecast
Regional View
Notes: Since the WECC was significantly long generation, the Regional Reserve Requirement was not enforced at a company level.
With the retirements, regional companies will be closer to the Reserve Requirement and those that are short will be required to fulfill their obligation.
Penalties will be instituted as the need arises.

## Slide 4
Capacity Planning / Resource Adequacy
Shift in Resource Planning Priorities
NWPCC – First Plan to recognize and place priority on capacity planning.
  Energy planning no longer “good enough”
  Peak and flexibility need to be considered
  No renewable resources beyond RPS
Regional Coal Plant Closures
  2015 J.E. Corette 175 MW
  2020 Centralia Unit One 670 MW
  2021 Boardman 550 MW
  2025 Centralia Unit Two 670 MW
  2025 North Valmy 552 MW
  Total: 2,617 MW
Since 2015 Plan – Colstrip 1 and 2 / PacifiCorp 2017 IRP
Regional View
Notes: Since the WECC was significantly long generation, the Regional Reserve Requirement was not enforced at a company level.
With the retirements, regional companies will be closer to the Reserve Requirement and those that are short will be required to fulfill their obligation.
Penalties will be instituted as the need arises.

## Slide 5
Regional View
Planning Reserve Margins
NERC Reference Margin
  NWPP-US Reference Margin = 16.16%
Comparison of Select Regional Utilities
  NorthWestern did not plan for capacity prior to the 2015 Plan
  NorthWestern has no planning reserve margin and, is currently negative.
NorthWestern Energy

## Slide 6
Physical Resources
Notes: Add table; increase number slides, add percentages, Contribution to historic peak is 57%

## Slide 7
NWE Capacity Need
NorthWestern’s capacity deficit is large and grows over time

## Slide 8
Region / NorthWestern Coincidental Peak
Notes: Take off Summer

## Slide 9
Optimization
Resource & Portfolio Optimization
  Define & leverage hydro flexibility
  Separate regulation and load following
    Reduce regulation value and perform service more efficiently
    Meet load following across larger time steps

## Slide 10
Flexible Capacity Need and Resources
Chart: Flexible Capacity Need vs. Resources
| Intra-hour Need | Flexible Capacity
Within-hour INC | 150
Contingency Reserves | 65
Regulation | 50
DGGS | 150
Basin Creek | 52
Hydro | 45
Colstrip 4 | 24
Notes: Update and move to end

## Slide 11
Flexible Capacity Need and Resources
Chart: Flexible Capacity Need vs. Resources
| Intra-hour Need | Flexible Capacity
Within-hour INC | 150
Contingency Reserves | 65
Regulation | 50
Additional Contingency Reserves | 6
Additional INC | 75
DGGS | 150
Basin Creek | 52
Hydro | 45
Colstrip 4 | 24
Total: 271
Notes: Update and move to end

## Slide 12
NWE Preferred Portfolio
Notes: Increase winter peak fonts; Winter peak plus Reserve Margin

## Slide 13
NorthWestern RFP - 5 MW to 150 MW
Must be dispatchable by NorthWestern (PPA or Owned)
Two “Silos” in RFP
  Engineer, procure and construct at DGGS site:
  All source side open to the following technologies:
NWE Flexible Capacity RFP
  Thermal
  Thermal
  Solar or Wind (with storage)
  Hydro
  Demand Response
  Biomass / biogas
  Geothermal
  Storage only technologies
Notes: Since the WECC was significantly long generation, the Regional Reserve Requirement was not enforced at a company level.
With the retirements, regional companies will be closer to the Reserve Requirement and those that are short will be required to fulfill their obligation.
Penalties will be instituted as the need arises.

## Slide 14
PNW Region needs capacity
NWE has a very large and ongoing need for capacity
  Need for flexible capacity
Region and NWE peak loads hour overlap
  Coal plant closures
  Addition of renewables
NWE can’t continue to “lean” on the region
2015 Plan identifies gas-fired generation
NWE using RFP to define resources
Takeaways
Notes: Since the WECC was significantly long generation, the Regional Reserve Requirement was not enforced at a company level.
With the retirements, regional companies will be closer to the Reserve Requirement and those that are short will be required to fulfill their obligation.
Penalties will be instituted as the need arises.