## Slide 1: Demand Response Capacity Resources
June 8, 2017
Montana PSC Technical Conference Capacity Planning and Resource Adequacy

## Slide 2: Integrated Resource Planning paradigm has changed
Grid Defection
Roof Top Solar
Electric Vehicle Charging
Demand Destruction
Battery Storage
Duck Curve
Energy Efficiency Technologies
Intermittency
Demand Management
Climate Policy
Energy PTC/ITC Policy
Grid Scale Renewable Projects
RTO/ISO/EIB Markets
Natural Gas Prices
Demand flexibility and automated controls
Energy Data Analytics

## Slide 3: Resource planning with normal levels of uncertainty
Years ahead
MW
Projected peak demand
Available capacity
Upgraded capacity
Today
Construction lead time

## Slide 4: Resource planning with today’s uncertainty
Years ahead
MW
Projected peak demand
Available capacity
Upgraded capacity
Today

## Slide 5: You can use DR to buy time to make a better decision
Years ahead
MW
Projected peak demand
Available capacity
Today
Capacity with DR
Extra time

## Slide 6: DR has proven its value as planning reserve capacity
1: Navigant Research
Key DR attributes
Capital efficient
Fast-to-market
Dispatchable
Reliable
Clean
Key DR benefits
Improved system reliability
Lower electricity prices
Industrial competitiveness
Higher renewables penetration

## Slide 7: DR Aggregators work with utilities to build portfolios
Utility DR tariff arrangements are suboptimal.
DR Aggregators have flexibility of contract with customers.
DR aggregation allows more customers to do DR (more MW)
Customer capabilities
Utility and grid operator needs
Basic model of DR aggregation

## Slide 8: Capacity DR is the anchor, but it unleashes flexible resources
Reliability DR (Capacity/Strategic Reserves)
Typical dispatch: 4 hours duration;
1-2x/year; 60-minute notice
Load reduction only
PJM 2015: 11,000 MW
Economic DR (Energy)
Typical dispatch: 5-minute to multiple hours duration; 100+ hours/year,1 hour to 5-minute notice
Load reduction only
PJM 2015: 2,600 MW
Operating Reserves (Secondary Reserves)
Typical dispatch: ~20x/year; ~30-minute duration; 10-minute notice
Load reduction or increase
PJM 2015: 360 MW
Regulation (Primary Reserves)
Typical dispatch: Continuous; minutes to hours duration; 6-second notice
Load reduction or increase
PJM 2015: 13 MW
Potential
Capacity: ~90MW
Flex: ~35MW

## Slide 9: Program design is key to DR viability & uptake
Encourage
Resource availability
Critical hours only
All hours
Event trigger
Needs-based / transparent
Arbitrary
Advance notice
Minutes / hours
Instantaneous
Event duration
Fixed / short
Unlimited
Event limits
Daily / annual limits
None
Technology requirements
Adequate / reasonable
Overly complex
Baseline
Simple / accurate / fair
Complex / biased
Aggregation
By total portfolio
None
Payments
Availability and energy
Energy only
Non-compliance penalties
Reasonable
Severe
Deter
Level of customer participation
Low
High

## Slide 10: Kenneth D. Schisler
Vice President of Regulatory Affairs
+1 410-725-1462
kschisler@enernoc.com